PEEP

| Goal | Morphological measurements |
| --- | --- |
| Typical area | River banks, gullies, canals, tidal mudbanks |
| Typical time resolution | Days–months |
| Investment costs | < 1750 € |
| Operation Costs |  |
| Labor | low |
| Spatial Coverage | spot |
| Time Frequency | continuous |
| Detail level | High (2 mm vertical resolution) |

Method

.

Materials

Photo-Electronic Erosion Pin (PEEP) system

Additional information